System Information

Machine:  Bake Oven

Manufacturer:  Blue M

Model #:  SV-57A

Operating and Maintenance Procedures

1.	Turn on oven (silver toggle switch)

2.	Set desired temperature.  (Thermometer inside of oven to confirm temperature)

3.	To open the door, unscrew the door handle counterclockwise until it opens.

4.	Place wafer in oven and time your bake.

5.	Remove wafer and close door (tighten handle back down)

6.	Turn off oven.