**COMPRESSED GAS CYLINDERS**

🞏 Are cylinders with a water weight capacity over 30 pounds equipped with a means to connect a valve protector device, or with a collar or recess to protect the valve?

🞏 Are cylinders legibly marked to clearly identify the type of gas?

🞏 Are compressed gas cylinders stored in areas protected from external heat sources such as flame impingement, intense radiant heat, electric arcs, or high-temperature lines?

🞏 Are cylinders located or stored in areas where they will not be damaged by passing or falling objects or subject to tampering by unauthorized persons?

🞏 Are cylinders stored or transported in a manner to prevent them from creating a hazard by tipping, falling, or rolling?

🞏 Are cylinders containing liquefied fuel gas stored or transported in a position so that the safety relief device is always in direct contact with the vapor space in the cylinder?

🞏 Are valve protectors always placed on cylinders when the cylinders are not in use or connected for use?

🞏 Are all valves closed off before a cylinder is moved, when the cylinder is empty and at the completion of each job?

🞏 Are low-pressure fuel gas cylinders checked periodically for corrosion, general distortion, cracks, or any other defect that might indicate a weakness or render them unfit for service?

🞏 Does the periodic check of low-pressure fuel gas cylinders include a close inspection of the cylinders’ bottoms?