**COMPRESSORS/AIR RECEIVERS**

🞏 Is every receiver equipped with a pressure gauge and one or more automatic, spring-loaded safety valves?

🞏 Is the total relieving capacity of the safety valve able to prevent pressure in the receiver from exceeding the maximum allowable working pressure of the receiver by more than 10 percent?

🞏 Is every air receiver provided with a drain pipe and valve at the lowest point for the removal of accumulated oil and water?

🞏 Are compressed air receivers periodically drained of moisture and oil?

🞏 Are all safety valves tested at regular intervals to determine whether they are in good operating condition?

🞏 Is there a current operating permit?

🞏 Is the inlet of air receivers and piping systems kept free of accumulated oil and carbonaceous materials?