**EXITING OR EGRESS – EVACUATION**

🞏 Are all exits marked with an exit sign and illuminated by a reliable light source?

🞏 Are the directions to exits, when not immediately apparent, marked with visible signs?

🞏 Are doors, passageways or stairways that are neither exits nor access to exits, but could be mistaken for exits, appropriately marked “NOT AN EXIT, ” “TO BASEMENT, ” “STORE- ROOM, ” etc.?

🞏 Are exit signs labeled with the word “EXIT” in lettering at least 5 inches high and the stroke of the lettering at least l/2- inch wide?

🞏 Are exit doors side-hinged?

🞏 Are all exits kept free of obstructions?

🞏 Are at least two means of egress provided from elevated platforms, pits, or rooms where the absence of a second exit would increase the risk of injury from hot, poisonous, corrosive, suffocating, flammable, or explosive substances?

🞏 Are there sufficient exits to permit prompt escape in case of emergency?

🞏 Are special precautions taken to protect employees during construction and repair operations?

🞏 Is the number of exits from each floor of a building and the number of exits from the building itself appropriate for the building occupancy load?

🞏 Are exit stairways that are required to be separated from other parts of a building enclosed by at least 2-hour fire-resistive construction in buildings more than four stories in height, and not less than 1-hour fire-resistive construction elsewhere?

🞏 Where ramps are used as part of required exiting from a building, is the ramp slope limited to 1 foot vertical and 12 feet horizontal?

🞏 Where exiting will be through frameless glass doors, glass exit doors, storm doors, etc., are the doors fully tempered and meet the safety requirements for human impact?