**FLAMMABLE AND COMBUSTIBLE MATERIALS**

🞏 Are combustible scrap, debris and waste materials (oily rags, etc.) stored in covered metal receptacles and promptly removed from the worksite?

🞏 Is proper storage practiced to minimize the risk of fire, including spontaneous combustion?

🞏 Are approved containers and tanks used to store and handle flammable and combustible liquids?

🞏 Are all connections on drums and combustible liquid piping, vapor and liquid tight?

🞏 Are all flammable liquids kept in closed containers when not in use (e.g., parts cleaning tanks, pans, etc.)?

🞏 Are bulk drums of flammable liquids grounded and bonded to containers during dispensing?

🞏 Do storage rooms for flammable and combustible liquids have explosion-proof lights and mechanical or gravity ventilation?

🞏 Is liquefied petroleum gas stored, handled and used in accordance with safe practices and standards?

🞏 Are “NO SMOKING” signs posted on liquefied petroleum gas tanks and in areas where flammable or combustible materials are used or stored?

🞏 Are liquefied petroleum storage tanks guarded to prevent damage from vehicles?

🞏 Are all solvent wastes and flammable liquids kept in fire-resistant, covered containers until they are removed from the worksite?

🞏 Is vacuuming used whenever possible rather than blowing or sweeping combustible dust?

🞏 Are firm separators placed between containers of combustibles or flammables that are stacked one upon another to ensure their support and stability?

🞏 Are fuel gas cylinders and oxygen cylinders separated by distance and fire-resistant barriers while in storage?

🞏 Are fire extinguishers selected and provided for the types of materials in the areas where they are to be used?

* Class A - Ordinary combustible material fires.
* Class B - Flammable liquid, gas or grease fires.
* Class C - Energized-electrical equipment fires.

🞏 Are appropriate fire extinguishers mounted within 75 feet of outside areas containing flammable liquids and within 10 feet of any inside storage area for such materials?

🞏 Are extinguishers free from obstructions or blockage?

🞏 Are all extinguishers serviced, maintained and tagged at intervals not to exceed one year?

🞏 Are all extinguishers fully charged and in their designated places?

🞏 Where sprinkler systems are permanently installed, are the nozzle heads so directed or arranged that water will not be sprayed into operating electrical switchboards and equipment?

🞏 Are safety cans used for dispensing flammable or combustible liquids at the point of use?

🞏 Are all spills of flammable or combustible liquids cleaned up promptly?

🞏 Are storage tanks adequately vented to prevent the development of excessive vacuum or pressure as a result of filling, emptying, or atmosphere temperature changes?

🞏 Are storage tanks equipped with emergency venting that will relieve excessive internal pressure caused by fire exposure?

🞏 Are rules enforced in areas involving storage and use of hazardous materials?