**SPRAYING OPERATIONS**

🞏 Is adequate ventilation provided before spraying operations are started?

🞏 Is mechanical ventilation provided when spraying operations are performed in enclosed areas?

🞏 When mechanical ventilation is provided during spraying operations, is it so arranged that it will not circulate the contaminated air?

🞏 Is the spray area free of hot surfaces and at least 20 feet from flames, sparks, operating electrical motors and other ignition sources?

🞏 Are portable lamps used to illuminate spray areas suitable for use in a hazardous location?

🞏 Is approved respiratory equipment provided and used when appropriate during spraying operations?

🞏 Do solvents used for cleaning have a flash point to 100 degrees Fahrenheit or more?

🞏 Are fire control sprinkler heads kept clean?

🞏 Are “NO SMOKING” signs posted in spray areas, paint rooms, paint booths and paint storage areas?

🞏 Is the spray area kept clean of combustible residue?

🞏 Are spray booths constructed of metal, masonry, or other substantial noncombustible material?

🞏 Are spray booth floors and baffles noncombustible and easily cleaned?

🞏 Is infrared drying apparatus kept out of the spray area during spraying operations and is the spray booth completely ventilated before using the drying apparatus?

🞏 Is the electric drying apparatus properly grounded?

🞏 Are lighting fixtures for spray booths located outside the booth with the interior lighted through sealed clear panels?

🞏 Are the electric motors for exhaust fans placed outside booths or ducts?

🞏 Are belts and pulleys inside the booth fully enclosed?

🞏 Do ducts have access doors to allow cleaning?

🞏 Do all drying spaces have adequate ventilation?